## Slide 1
Case 01
Cybersecurity for Electric Power Control and Automation Systems
Dienstag, 21. Juli 2020

## Slide 2: Agenda
Conclusion
7
Security Modeling and Evaluation
6
Power-cyber security framework
5
SCADA System Security
4
Power System Cybersecurity Vulnerabilities
3
Evolution of SCADA System
2
Introduction
1

## Slide 3
Introduction
Cybersecurity for Electric Power Control and Automation Systems
Group 6
Identification of several cyber related vulnerabilities in electric power operations
Paper gives overview on past, current and future research
  Integrated modeling techniques (capture the cause-effect relationship between cyber-physical systems)
  Metrics to quantitatively assess the survivability of the system
  Carry out a security investment analysis quantifying the cost benefits
  real-world data and testbed evaluations to validate the models
SCADA (supervisory control and data acquisition systems) as central part in electric power and automation systems

## Slide 4: Agenda
Conclusion
7
Security Modeling and Evaluation
6
Power-cyber security framework
5
SCADA System Security
4
Power System Cybersecurity Vulnerabilities
3
Evolution of SCADA System
2
Introduction
1

## Slide 5
Evolution of SCADA Systems
Cybersecurity for Electric Power Control and Automation Systems
Group 6
Monolithic
  Stand alone System with no connectivity
Distributed
  Distribution of the computing burden to a number of machines in a network
Networked
  Open system architecture distributing the process across physically separate locations
Increasing Vulnerability

## Slide 6: Agenda
Conclusion
7
Security Modeling and Evaluation
6
Power-cyber security framework
5
SCADA System Security
4
Power System Cybersecurity Vulnerabilities
3
Evolution of SCADA System
2
Introduction
1

## Slide 7
Power System Vulnerabilities (PSC)
Cybersecurity for Electric Power Control and Automation Systems
Group 6
Cyber Attackers
  Internal disgruntles employees
  External malicious hackers
Targeted Cyber Attack Types
  Malicious Attackers exploit software bugs & other vulnerabilities or gain unauthorized access
Flood based Cyber Attack Types
  causing a traffic avalanche /Denial of Service (DoS)
  can potentially bring down systems and cause a disruption of services.
Other Attack Types (e.g. Spoofing, DNS cache poisoning)

## Slide 8: Agenda
Conclusion
7
Security Modeling and Evaluation
6
Power-cyber security framework
5
SCADA System Security
4
Power System Cybersecurity Vulnerabilities
3
Evolution of SCADA System
2
Introduction
1

## Slide 9
SCADA System Security
Cybersecurity for Electric Power Control and Automation Systems
Group 6
Some resources are critical (DMS, SAS, PCS, control center)
Standard protocols (e.g. CIP 1200) to identify critical cyber assets
Salient Features:
  Firewalls and IDS (secure gateways)
  Electronic Perimeter (filter unwanted traffic before reaching the gateway)
  Domain-Specific IDS (analyze baseline of normal traffic and filter cyber attacks)
  Secure Communication (e.g. use of Virtual Private Networks)
  Best Security Practices (implementation of Standard Protocols, e.g. NERC)
  Online Vulnerability Map Tool (analyze vulnerabilities)

## Slide 10: Agenda
Conclusion
7
Security Modeling and Evaluation
6
Power-cyber security framework
5
SCADA System Security
4
Power System Cybersecurity Vulnerabilities
3
Evolution of SCADA System
2
Introduction
1

## Slide 11
Power-Cyber Security Network
Cybersecurity for Electric Power Control and Automation Systems
Group 6
NERC has developed cyber security Standards
Research focus on following tasks:
  Threat and Vulnerability Assessment (comprehensive understanding of all possible cyber attacks)
  Security Framework (design of a comprehensive security framework)
  Integrated Modeling of Attacks and their impacts (model cyber attacks on critical cyber assets using tools)
  Validation of Defense Mechanisms (deploying them in a controlled testbed environment)
  Cost Benefit Analysis (economic feasibility studies)

## Slide 12: Agenda
Conclusion
7
Security Modeling and Evaluation
6
Power-cyber security framework
5
SCADA System Security
4
Power System Cybersecurity Vulnerabilities
3
Evolution of SCADA System
2
Introduction
1

## Slide 13
Security modelling and evaluation
Cybersecurity for Electric Power Control and Automation Systems
Group 6
Different methodologies of security modeling and evaluation:
  Attack Trees (multi level hierarchical structures based n logical AND / OR operations)
  PENET (modelling attack framework based on petri nets)
  Integrated Modeling of Cyber and Power Security (captures attack and resulting consequences)
  SCADA Testbed Development and Validation (realistic, used to conduct attack-defense exercises)

## Slide 14: Agenda
Conclusion
7
Security Modeling and Evaluation
6
Power-cyber security framework
5
SCADA System Security
4
Power System Cybersecurity Vulnerabilities
3
Evolution of SCADA System
2
Introduction
1

## Slide 15
Conclusion
Cybersecurity for Electric Power Control and Automation Systems
Group 6
Research challenges must be addressed
Analysis of:
  Vulnerability assessment
  Security framework
  Modelling
  Validation